## prb-3
Time | Customer #1 | Customer #2 | Customer #3 | Customer #4 | total load | Percentage of Duration | Total load | Total Time (min)
17:00 | 8.81 | 119:02 | 11.04 | 1.44 | 26.25 | 1% | 26.7 | 240
17:15 | 2.12 | 75:50 | 7.04 | 1.62 | 13.94 | 6.25% | 26.25
17:30 | 9.48 | 169:55 | 7.68 | 2.46 | 26.7 | 12.5% | 23.8
17:45 | 7.16 | 121:55 | 6.08 | 0.84 | 19.16 | 18.75% | 20.12
18:00 | 6.04 | 74:53 | 4.32 | 1.12 | 14.6 | 25% | 19.68
18:15 | 9.88 | 157:26 | 5.12 | 2.24 | 23.8 | 31.25% | 19.24
18:30 | 4.68 | 165:07 | 6.56 | 1.12 | 19.24 | 37.5% | 19.16
18:45 | 5.12 | 92:10 | 8.48 | 2.24 | 19.68 | 43.75% | 18.08
19:00 | 10.44 | 106:34 | 4.12 | 1.12 | 20.12 | 50% | 16.88
19:15 | 3.72 | 204:29 | 3.68 | 0.96 | 16.88 | 56.25% | 16.26
19:30 | 8.72 | 108:29 | 0.32 | 2.56 | 16.12 | 62.5% | 16.12
19:45 | 10.84 | 70:05 | 3.04 | 1.28 | 18.08 | 68.75% | 15.29
20:00 | 6.96 | 49:55 | 2.72 | 1.92 | 13.68 | 75% | 14.6
20:15 | 6.62 | 35:31 | 3.24 | 1.12 | 12.46 | 81.25% | 13.94
20:30 | 7.04 | 55:55 | 4.16 | 1.76 | 15.29 | 87.5% | 13.68
20:45 | 6.69 | 45:22 | 4.96 | 2.72 | 16.26 | 93.75% | 12.46
21:00 | 1.88 | 39:22 | 4.32 | 2.41 | 10.25 | 100% | 10.25
(a) | Customer #1 | Customer #2 | Customer #3 | Customer #4
Maximum 15-min KW demand | 10.84 | 8.52 | 11.04 | 2.72
Average 15-min KW demand | 6.8353 | 4.1471 | 5.1106 | 1.7018
Total KWh usgae in the time period | 29.05 | 17.625 | 21.72 | 7.2325
Load Factor | 0.63056 | 0.48674 | 0.46292 | 0.62565
(b) For the transformer
Maximum 15-min Diversified demand | 26.7 |  | Transformer rating (KVA) | 25
Maximum 15-min noncoincidental demand | 33.12
Utilization factor | 1.068
Diversity factor | 1.2404
Load Diversity | 6.42

## prb-4
| Transformer-1 |  |  |  | Transformer-2 |  |  |  | X-mer #1 30-min KVA demand | X-mer #2 30-min KVA demand | X-mer #1 30-min KW demand | X-mer #2 30-min KW demand | 30-min KVA Demand at Tap
Time | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8
3:00–3:30 | 10 | 0 | 10 | 5 | 15 | 10 | 50 | 30 | 25 | 105 | 22.5 | 94.5 | 130
3:30–4:00 | 20 | 25 | 15 | 20 | 25 | 20 | 30 | 40 | 80 | 115 | 72 | 103.5 | 195
4:00–4:30 | 5 | 30 | 30 | 15 | 10 | 30 | 10 | 10 | 80 | 60 | 72 | 54 | 140
4:30–5:00 | 0 | 10 | 20 | 10 | 13 | 40 | 25 | 50 | 40 | 128 | 36 | 115.2 | 168
5:00–5:30 | 15 | 5 | 5 | 25 | 30 | 30 | 15 | 5 | 50 | 80 | 45 | 72 | 130
5:30–6:00 | 15 | 15 | 10 | 10 | 5 | 20 | 30 | 25 | 50 | 80 | 45 | 72 | 130
6:00–6:30 | 5 | 25 | 25 | 15 | 10 | 10 | 30 | 25 | 70 | 75 | 63 | 67.5 | 145
6:30–7:00 | 10 | 50 | 15 | 30 | 15 | 5 | 10 | 30 | 105 | 60 | 94.5 | 54 | 165
a.
| Transformer-1 | Transformer-2
30-min maximum KVA demand | Transformer-1 #1: 105; Transformer-1 #2: 128
Noncoincidental maximum KVA demand | Transformer-1 #1: 130; Transformer-1 #2: 170
Load factor | Transformer-1 #1: 0.59524; Transformer-1 #2: 0.68652
Diversity factor | Transformer-1 #1: 1.2381; Transformer-1 #2: 1.3281
Suggested transformer rating | Transformer-1 #1: 100; Transformer-1 #2: 157
Utilization factor | Transformer-1 #1: 1.05; Transformer-1 #2: 0.81529
Energy (KWh) during the 4th-period | Transformer-1 #1: 225; Transformer-1 #2: 316.35
b.
Maximum diversified 30min KVA demand at tap | Transformer-1 #1: 195